## Slide 1
FLUID MECHANICS and HEAT TRANSFER (FMHT)
L. E. College, Morbi-2
Industrial Engineering Department
Chapter-07– Conduction
Prepared by Prof. Divyesh B. Patel
Mechanical Engg. Dept
LE. College, Morbi
+919925282644
divyesh21dragon@gmail.com

## Slide 2: One dimensional steady state conduction,
y
z
x
T = T(x,y,z,t)
qg = qg (x,y,z,t)
Point fuction
T = T(x)
qg = qg (x)
K = K (T)
Steady state, 1-Dimension, Thermal conductivity is constant and no heat generated
Steady state, and 1-Dimension,
0
0
0
0

## Slide 3: One dimensional steady state conduction,
Integrating with respect to x
Again integrating with respect to x
L
X
A
Th
Tc
Th>Tc
Applying boundary Condition
x= 0 , T= Th
x = L , T= Tc
C2 = Th
C1 = (Tc –Th)/L

## Slide 4: One dimensional steady state conduction,
dx
X
A = Cross section area
Th
Tc
Th>Tc
δ
Q
Q

## Slide 5: One dimensional steady state conduction,
Conductive resistance (RConduction)
Th
Tc
Qx
(RConduction) = δ/KA
Th > Tc
Analogues of Electrical circuit

## Slide 6: One dimensional steady state conduction,
L
X
A
Hot gas(Th)
Cold air(Tc)
Th > T1 > T2 > Tc
T
T1
T2
hh
hc
Q =hh (Th - T1)A
Q =hc (T2 - Tc)A
(Th - T1)=Q(1/(A hh))
(T2 - Tc)=Q(1/(A hc))
K

## Slide 7: One dimensional steady state conduction,
Th
Tc
Q
RConduction
= δ/KA
Analogues of Electrical circuit
T1
T2
R (Convactive)h
= 1/(A hh)
R (Convactive)c
= 1/(A hc)

## Slide 8: Conduction through a composite wall
M
KM
N
KN
x
T1
T3
LM
LN
T1>T3
x = 0
x = LM + LN
Applying boundary Condition
x= 0 , T= T1
x = LM , T= T2
C2 = T1
C1 = (T2 –T1)/ LM
T2
T1>T2>T3
Applying boundary Condition
x = LM , T = T2
x = LM + LN , T= T3

## Slide 9: Conduction through a composite wall
T1
Q
T2
T3
Rconduction,M
= LM/KMA
Rconduction,N
= LN/KNA

## Slide 10: Heat flow surfaces between and surrounding
M
KM
N
KN
x
T1
T3
LM
LN
x = 0
x = LM + LN
T2
Th>T1>T2>T3>Tc
Hot gas(Th)
Cold air(Tc)
KN>KM
Q =hh (Th - T1)A
Q =hc (T3 - Tc)A
(Th - T1)=Q(1/(A hh))
(T3 - Tc)=Q(1/(A hc))

## Slide 11: Heat flow surfaces between and surrounding
Th
Tc
Q
Rconduction,M
= LM/KMA
Analogues of Electrical circuit
T1
T2
R (Convactive)h
= 1/(A hh)
R (Convactive)c
= 1/(A hc)
T3
Rconduction,N
= LN/KNA

## Slide 12: Heat flow surfaces between and surrounding
M
KM
N
KN
T1
T3
LM
LN
T2
O
P
KO
KP
T4
LP
T1>T2>T3>T4
T1
Q
Rconduction,M
T2
T3
T4
Rconduction,N
Rconduction,O
Rconduction,P

## Slide 13
Thank you